NEIGHBOURHOOD WILDFIRE HAZARD ASSESSMENT FORM

This hazard assessment form helps you identify wildfire risks for homes within and around a neighbourhood or small community. It helps residents develop a local FireSmart action plan.

LOW SCORE WINS!!!

| ELEMENT | POINTS | NOTES |
| --- | --- | --- |
| 1. Access to Neighbourhood or Community |
| 1.1 Getting In and Out |
| Two or more roads in/out | 0 |  |
| One road in/out | 7 |  |
| 1.2 Road Width |
| More than 7.3m | 0 |  |
| More than 6.1m but less than 7.3m | 2 |  |
| Less than 6.1m | 4 |  |
| 1.3 Road Condition |
| Surfaced road, grade less than 5% | 0 |  |
| Surfaced road, grade more than 5% | 2 |  |
| Non-surfaced road, less than 5% | 2 |  |
| Non-surfaced road, more than 5% | 5 |  |
| Other than all season road | 7 |  |
| 1.4 Fire Service Access |
| More than 91m with turn-around | 0 |  |
| Less than 91m with turn-around | 2 |  |
| More than 91m with no turn-around | 4 |  |
| Less than 91m with no turn-around | 5 |  |
| 1.5 Street Signs and Home Address Markers |
| Present, 10cm in size, reflectorized | 0 |  |
| Not present | 5 |  |
| Sub-Total (out of 28) |  |
| 2. Vegetation (Fuel) Types |
| 2.1 Characteristics of Dominant Vegetation within 91m of residence |
| Light fuel: grasses, herbs and/or 90% leafy trees in forest canopy | 5 |  |
| Medium fuel: shrubs, leafy trees, moderate dead wood, or mixed wood forest 50+% leafy | 10 |  |
| Heavy fuel: mixed-wood with 50+% dense conifer, or shrubs + ladders under separated conifer canopy | 20 |  |
| Logging slash, heavy blow-down with or w/o canopy | 25 |  |
| Beetle/budworm kill with surface fuel load | 25 |  |
| Islands of untreated forest/brush located within the community perimeter | 15-25 |  |  |

| ELEMENT | POINTS | NOTES |
| --- | --- | --- |
| 2.2 Home Ignition Zone (within 31m of structures) |
| Vegetation treated from 0 to 31m from structure(s) | 1 |  |
| Vegetation treated from 0 to 21-31m from structures | 3 |  |
| Vegetation treated from 0 to 9 - 21 from structure(s) | 10 |  |
| Untreated vegetation exists within 9m of structure(s) | 25 |  |
| 3. Topography within 91m of structures |
| Slope less than 9% | 1 |  |
| Slope 10 – 20% | 4 |  |
| Slope 21 – 30% | 7 |  |
| Slope 31 – 40% | 8 |  |
| Slope more than 41% | 10 |  |
| Sub-Total (out of 85) |  |
| 4. Additional Rating Factors |
| High probability of human or natural ignitions | 0-5 |  |  |
| Periodic exposure to extreme fire weather or winds | 0-5 |  |  |
| Insufficient separation between structures | 0-5 |  |  |
| Other | 0-5 |  |  |
| Sub-Total (out of 20) |  |
| 5. Roofing Assembly |
| Class “A” roof (e.g. tile, asphalt-fiberglass, metal) | 0 |  |
| Class “B” roof (e.g. metal over roofing paper) | 3 |  |
| Class “C” roof (e.g. metal over old roof) | 15 |  |
| Un-rated roof (e.g. unrated wood shakes) | 30 |  |
| Roof cleanliness, litter accumulation | 0-5 |  |  |
| Sub-Total (out of 35) |  |
| 6. Building Construction |
| 6.1 Materials |
| Fire resistant siding, eaves, deck | 0 |  |
| Fire resistant siding with combustible deck | 5 |  |
| Combustible siding and deck | 10 |  |
| Windows: tempered, double pane, small, single/large | 0-5 |  |  |
| Combustible fences, attachments, outbuildings | 0-7 |  |  |
| 6.2 Building setback and position on slopes more than 30% |
| Setback from top of slope 9+m or at bottom of slope | 1 |  |
| Buildings located mid-slope | 5 |  |
| Setback from top of slope less than 9m or at top of slope | 10 |  |
| Sub-Total (out of 32) |  |

| ELEMENT | POINTS | NOTES |
| --- | --- | --- |
| 7. Available Fire Protection |
| 7.1 Water Source Availability |
| Pressure hydrants min. 1,892 Lpm, <304m apart | 0 |  |
| Pressure hydrants min. 950 Lpm, <304m apart | 1 |  |
| Static water source 950+ Lpm, min. 2 hour supply | 3 |  |
| Static water source less than 950 Lpm, 2 hour supply | 5 |  |
| Water unavailable | 10 |  |
| 7.2 Organized Response Resources |
| Station within 8km from neighbourhood (up to 10 mins.) | 1 |  |
| Station more than 8km from neighbourhood (10+ mins.) | 3 |  |
| No fire service | 5 |  |
| 7.3 Fixed Fire Protection |
| NFPA approved interior sprinkler system | 0 |  |
| On-site suppression equipment, hoses, hose bibs | 0-5 |  |  |
| None | 5 |  |
| 8.0 Gas, Electric, Firewood, Chimneys, Combustibles |
| Utilities underground, firewood 10+m from bldgs. | 0 |  |
| Utilities aboveground, firewood less than 10m from bldgs. | 2-5 |  |  |
| Propane tank < 7m from sustained heat source | 10 |  |
| Unscreened chimney, outdoor burning pit, appliance | 0-5 |  |  |
| Combustibles contributing to fire ignition + spread | 0-3 |  |  |
| Sub-Total (out of 48) |  |

| 9.0 Total for Subdivision/Neighbourhood/Community |
| --- |
| Total point rating (sum of sections out of 248) |  |  |

| Hazard Assessment Rating: | Total Points: |  |
| --- | --- | --- |
| Low Hazard | 0 - 49 |  |
| Moderate Hazard | 50 – 86 |  |
| High Hazard | 87 – 139 |  |
| Extreme Hazard | 140+ |  |